SAMPLE OF HOW TO RECORD A NEW TANK

| Calibration and Accuracy Check Log. Instrument Name:______________________________- Serial #: _______________________ |
| --- |
| Test No. | Date | Time | Operator Name | Location | Check (X) here for: ACCURACY CHECK | Check (X) here for: CALIBRATION (ONLY CAL TECHS!) | (Tank) Standard Lot# | (Tank) Standard Value/ Expected Result | Result | OK? Y/N |

NOTE: Tolerance +/- .005	    Remember: You must use the gas value AT YOUR ALTITUDE, not necessarily the face-value on the tank!

# Text boxes

{DATE xx/xx/xxxx}, New Tank in Service by Lisa Bradley (BAT Name), San Diego, CA. Tank: Intoximeters 108Liter, 0.038 g/210L; Lot# AG123456. Expiration Date: 04/23/2018